{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["单月数据","1-2月","1-3月"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"单月数据","index":0,"n_rows":46,"n_cols":37,"rows_kept":46}
["监测 月份","断面名称","功能区\n类别划定","水质现状","是否达标","水温","pH","溶解氧","高锰酸盐指数","化学\n需氧量","生化\n需氧量","氨氮","总磷","总氮","铜","锌","氟化物","硒","砷","汞","镉","六价铬","铅","氰化物","挥发酚","石油类","阴离子表面活性剂","硫化物","粪大肠菌群","电导率","悬浮物","水质\n现状\n(罗马数字)","断面名称","功能区\n类别划定","水质现状","是否达标","超标项目(倍数)"]
["2025年1月","下东（采测分离）",2,2,"是",17.8,8,9.5,1.1,8,1.1,{"v":0.03,"d":"0.030"},0.03,2.13,{"v":0.001,"d":"0.00100"},{"v":0.004,"d":"0.00400"},0.172,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},{"v":0.0005,"d":"0.001"},0.0002,0.005,0.02,0.005,"",316,"","II类","下东（采测分离）",2,2,"是","——"]
["2025年1月","布洲（采测分离）",2,2,"是",17.8,8,9.6,1.9,7,0.7,{"v":0.04,"d":"0.040"},0.05,2.33,{"v":0.001,"d":"0.00100"},{"v":0.002,"d":"0.00200"},0.166,0.0002,0.0014,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",1170,"","II类","布洲（采测分离）",2,2,"是","——"]
["2025年1月","牛湾（采测分离）",3,2,"是",17.7,7,7.8,3.3,13,1.9,{"v":0.06,"d":"0.060"},0.06,3.36,{"v":0.003,"d":"0.00300"},{"v":0.004,"d":"0.00400"},{"v":0.27,"d":"0.270"},0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",656,"","II类","牛湾（采测分离）",3,2,"是","——"]
["2025年1月","苍山渡口（采测分离）",2,2,"是",17.5,7,9.5,1.9,13,2.3,{"v":0.33,"d":"0.330"},0.05,2.39,{"v":0.002,"d":"0.00200"},{"v":0.003,"d":"0.00300"},0.003,0.0002,0.0017,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",17132,"","II类","苍山渡口（采测分离）",2,2,"是","——"]
["2025年1月","上浅口",3,2,"是",17.6,8.2,8.33,1.4,7,1.1,0.368,0.05,2.74,0.00176,0.00486,0.168,0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",407.9,"","II类","上浅口",3,2,"是","——"]
["2025年1月","义兴",3,2,"是",{"v":17,"d":"17.0"},7.9,8.3,2.3,11,1.8,0.106,0.06,1.32,0.00294,0.00758,0.209,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00018,0.002,0.0002,0.005,0.02,0.005,"",246.3,"","II类","义兴",3,2,"是","——"]
["2025年1月","新美",3,3,"是",18.2,7.1,8.63,3.6,19,2.6,0.292,0.05,3.34,0.00244,0.00363,0.276,0.0002,0.0005,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00015,0.002,0.0002,0.005,0.02,0.005,"",376.9,"","III类","新美",3,3,"是","——"]
["2025年1月","公义",3,3,"是",18.3,7.1,8.66,4.2,18,2.7,0.251,0.06,3.26,{"v":0.0026,"d":"0.00260"},0.00497,0.308,0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00016,0.002,0.0002,0.005,0.02,0.005,"",376.7,"","III类","公义",3,3,"是","——"]
["2025年1月","虎跳门水道",2,2,"是",18.6,7.9,8.58,{"v":2,"d":"2.0"},13,1.4,0.115,0.03,2.17,0.00143,{"v":0.0029,"d":"0.00290"},0.284,0.0002,{"v":0.001,"d":"0.0010"},{"v":2e-5,"d":"0.00002"},{"v":4e-5,"d":"0.00004"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",4752,"","II类","虎跳门水道",2,2,"是","——"]
["2025年1月","锦江水库",2,2,"是",19.6,6.6,7.3,{"v":1,"d":"1.0"},2,0.8,{"v":0.09,"d":"0.090"},0.01,0.36,0.00064,0.00091,0.078,0.0002,0.0005,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","锦江水库",2,2,"是","——"]
["2025年1月","大隆洞水库",2,2,"是",17.8,7.8,8.67,1.3,2,0.7,0.158,0.01,0.54,0.00106,0.00354,0.084,0.0002,0.0003,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","大隆洞水库",2,2,"是","——"]
["2025年1月","大沙河水库[水]",2,2,"是",17.8,6.9,7.18,{"v":3,"d":"3.0"},8,2.2,0.268,0.02,1.05,0.00159,0.00378,0.131,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00018,0.002,0.0002,0.005,0.02,0.005,"","","","II类","大沙河水库[水]",2,2,"是","——"]
["2025年1月","西炮台（采测分离）",3,2,"是",17.1,8,9.8,1.6,10,0.7,{"v":0.03,"d":"0.030"},0.04,2.01,{"v":0.002,"d":"0.00200"},{"v":0.001,"d":"0.00100"},0.265,0.0002,0.0015,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",5670,"","II类","西炮台（采测分离）",3,2,"是","——"]
["2025年1月","恩城水厂（采测分离）",2,1,"是",18.4,7,9,1.2,2,0.6,{"v":0.02,"d":"0.020"},0.02,0.19,{"v":0.001,"d":"0.00100"},{"v":0.003,"d":"0.00300"},{"v":0.11,"d":"0.110"},0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",56,"","I类","恩城水厂（采测分离）",2,1,"是","——"]
["2025年1月","镇海水库",3,3,"是",17.6,6.9,7.12,3.8,13,2.5,0.624,0.02,{"v":1.2,"d":"1.20"},0.00103,0.00408,0.312,0.0002,0.0004,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","III类","镇海水库",3,3,"是","——"]
["2025年2月","下东（采测分离）",2,2,"是",17.8,8,9.2,1.2,"","",{"v":0.05,"d":"0.050"},0.03,2.04,"","","","","","","","","","","","","","","",312,"","II类","下东（采测分离）",2,2,"是","——"]
["2025年2月","布洲（采测分离）",2,2,"是",17.9,8,9.3,2.1,"","",{"v":0.06,"d":"0.060"},0.04,2.2,"","","","","","","","","","","","","","","",1823,"","II类","布洲（采测分离）",2,2,"是","——"]
["2025年2月","牛湾（采测分离）",3,2,"是",18.2,7,6.7,3.2,15,2.1,{"v":0.08,"d":"0.080"},0.06,3.32,"","","","","","","","","","","","","","","",728,"","II类","牛湾（采测分离）",3,2,"是","——"]
["2025年2月","苍山渡口（采测分离）",2,2,"是",17.7,7,8.9,1.6,"","",{"v":0.39,"d":"0.390"},0.07,2.5,"","","","","","","","","","","","","","","",17363,"","II类","苍山渡口（采测分离）",2,2,"是","——"]
["2025年2月","上浅口",3,2,"是",15.8,7.8,7.39,1.4,6,{"v":1,"d":"1.0"},0.294,0.05,2.93,0.00121,0.00261,0.158,0.0002,{"v":0.001,"d":"0.0010"},{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",316,"","II类","上浅口",3,2,"是","——"]
["2025年2月","义兴",3,2,"是",{"v":17,"d":"17.0"},7.2,7.8,2.1,10,1.8,0.216,0.07,1.41,0.00216,0.00324,{"v":0.18,"d":"0.180"},0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",89.9,"","II类","义兴",3,2,"是","——"]
["2025年2月","新美",3,3,"是",{"v":17,"d":"17.0"},7.2,8.15,3.2,18,2.7,0.177,0.06,2.52,0.00203,0.00247,0.301,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",371.3,"","III类","新美",3,3,"是","——"]
["2025年2月","公义",3,3,"是",16.8,7.3,8.03,3.5,17,2.5,0.161,0.06,1.92,0.00186,0.00194,0.278,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",328.2,"","III类","公义",3,3,"是","——"]
["2025年2月","虎跳门水道",2,2,"是",17.3,8.1,8.91,2.2,9,1.6,0.081,0.05,2.34,0.00179,0.00372,0.187,0.0002,{"v":0.001,"d":"0.0010"},{"v":2e-5,"d":"0.00002"},{"v":6e-5,"d":"0.00006"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",2588.3,"","II类","虎跳门水道",2,2,"是","——"]
["2025年2月","锦江水库",2,2,"是",17.8,6.1,6.76,{"v":1,"d":"1.0"},5,0.9,0.121,0.01,0.34,{"v":0.0005,"d":"0.00050"},{"v":0.0008,"d":"0.00080"},{"v":0.13,"d":"0.130"},0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","锦江水库",2,2,"是","——"]
["2025年2月","大隆洞水库",2,2,"是",{"v":17,"d":"17.0"},6.4,7.33,{"v":1,"d":"1.0"},7,0.8,0.076,0.01,0.48,0.00062,0.00122,0.115,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","大隆洞水库",2,2,"是","——"]
["2025年2月","大沙河水库[水]",2,2,"是",15.4,7.3,8.21,2.4,11,{"v":2,"d":"2.0"},0.073,0.02,0.98,0.00082,0.00274,0.165,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","大沙河水库[水]",2,2,"是","——"]
["2025年2月","西炮台（采测分离）",3,2,"是",18.4,8,8.1,2.2,"","",{"v":0.08,"d":"0.080"},0.06,2.13,"","","","","","","","","","","","","","","",10570,"","II类","西炮台（采测分离）",3,2,"是","——"]
["2025年2月","恩城水厂（采测分离）",2,2,"是",21.4,7,8.5,1.6,7,"",{"v":0.02,"d":"0.020"},0.04,0.86,"","","","","","","","","","","","","","","",87,"","II类","恩城水厂（采测分离）",2,2,"是","——"]
["2025年2月","镇海水库",3,3,"是",15.6,7.5,7.93,2.9,15,2.2,0.612,0.02,1.28,0.00043,0.00093,{"v":0.35,"d":"0.350"},0.0002,0.0003,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","III类","镇海水库",3,3,"是","——"]
["2025年3月","下东（采测分离）",2,2,"是",19.1,8,9,1.1,"","",{"v":0.06,"d":"0.060"},0.03,2.05,"","","","","","","","","","","","","","","",318,"","II类","下东（采测分离）",2,2,"是","——"]
["2025年3月","布洲（采测分离）",2,2,"是",19.3,8,9.2,1.2,"","",{"v":0.06,"d":"0.060"},0.04,2.2,"","","","","","","","","","","","","","","",524,"","II类","布洲（采测分离）",2,2,"是","——"]
["2025年3月","牛湾（采测分离）",3,2,"是",20.6,7,6,3.3,14,1.2,{"v":0.04,"d":"0.040"},0.06,3.27,"","","","","","","","","","","","","","","",648,"","II类","牛湾（采测分离）",3,2,"是","——"]
["2025年3月","苍山渡口（采测分离）",2,2,"是",20,7,8.1,1.9,"","",{"v":0.35,"d":"0.350"},0.08,2.71,"","","","","","","","","","","","","","","",15772,"","II类","苍山渡口（采测分离）",2,2,"是","——"]
["2025年3月","上浅口",3,2,"是",21.2,7.6,6.78,1.6,4,{"v":1,"d":"1.0"},0.378,0.04,2.62,0.00146,0.00297,0.158,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":8e-5,"d":"0.00008"},0.002,0.0002,0.005,0.02,0.005,"",387.5,"","II类","上浅口",3,2,"是","——"]
["2025年3月","义兴",3,2,"是",21.8,{"v":7,"d":"7.0"},7.83,3.4,13,2.5,0.368,0.05,{"v":1.9,"d":"1.90"},0.00175,0.00522,0.342,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",347.4,"","II类","义兴",3,2,"是","——"]
["2025年3月","新美",3,2,"是",19.3,7.5,6.78,2.9,8,2.1,0.147,0.09,2.75,0.00229,0.00606,0.264,0.0002,0.0004,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},0.002,0.0002,0.005,0.02,0.005,"",405.9,"","II类","新美",3,2,"是","——"]
["2025年3月","公义",3,2,"是",19.8,7.4,6.88,3.6,11,2.9,{"v":0.49,"d":"0.490"},0.08,{"v":4.1,"d":"4.10"},0.00203,0.00335,0.288,0.0002,0.0005,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",361.6,"","II类","公义",3,2,"是","——"]
["2025年3月","虎跳门水道",2,2,"是",18.2,7.6,8.25,1.5,6,1.2,0.111,0.04,{"v":2.5,"d":"2.50"},0.00138,0.00231,{"v":0.18,"d":"0.180"},0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",404.1,"","II类","虎跳门水道",2,2,"是","——"]
["2025年3月","锦江水库",2,1,"是",21.6,6.3,9.2,1.1,2,0.8,0.043,0.01,0.22,0.00081,0.00212,0.074,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","I类","锦江水库",2,1,"是","——"]
["2025年3月","大隆洞水库",2,1,"是",20.6,6.8,8.21,1.3,9,0.8,0.046,0.01,0.51,0.00081,0.00139,0.154,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","I类","大隆洞水库",2,1,"是","——"]
["2025年3月","大沙河水库[水]",2,2,"是",18.6,6.5,8.97,2.9,11,2.3,0.054,0.02,{"v":0.9,"d":"0.90"},0.00094,0.00193,0.124,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","大沙河水库[水]",2,2,"是","——"]
["2025年3月","西炮台（采测分离）",3,2,"是",20.9,8,7.8,2.5,"","",{"v":0.2,"d":"0.200"},0.05,2.34,"","","","","","","","","","","","","","","",8820,"","II类","西炮台（采测分离）",3,2,"是","——"]
["2025年3月","恩城水厂（采测分离）",2,2,"是",24.2,6,7.4,2.2,8,"",{"v":0.05,"d":"0.050"},0.06,1.16,"","","","","","","","","","","","","","","",64,"","II类","恩城水厂（采测分离）",2,2,"是","——"]
["2025年3月","镇海水库",3,2,"是",18.2,6.7,9.15,3.5,11,2.6,0.478,0.02,1.21,0.00068,0.00207,0.297,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","镇海水库",3,2,"是","——"]

{"sheet":"1-2月","index":1,"n_rows":16,"n_cols":37,"rows_kept":16}
["监测 月份","断面名称","功能区\n类别划定","水质现状","是否达标","水温","pH","溶解氧","高锰酸盐指数","化学\n需氧量","生化\n需氧量","氨氮","总磷","总氮","铜","锌","氟化物","硒","砷","汞","镉","六价铬","铅","氰化物","挥发酚","石油类","阴离子表面活性剂","硫化物","粪大肠菌群","电导率","悬浮物","水质\n现状\n(罗马数字)","断面名称","功能区\n类别划定","水质现状","是否达标","超标项目(倍数)"]
["2025年1月-2月","下东（采测分离）",2,2,"是",17.8,8,9.35,1.2,8,1.1,{"v":0.04,"d":"0.040"},0.03,2.08,{"v":0.001,"d":"0.00100"},{"v":0.004,"d":"0.00400"},0.172,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},{"v":0.0005,"d":"0.001"},0.0002,0.005,0.02,0.005,"",314,"","II类","下东（采测分离）",2,2,"是","——"]
["2025年1月-2月","布洲（采测分离）",2,2,"是",17.8,8,9.45,2,7,0.7,{"v":0.05,"d":"0.050"},0.04,2.26,{"v":0.001,"d":"0.00100"},{"v":0.002,"d":"0.00200"},0.166,0.0002,0.0014,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",1496.5,"","II类","布洲（采测分离）",2,2,"是","——"]
["2025年1月-2月","牛湾（采测分离）",3,2,"是",18,7,7.25,3.2,14,{"v":2,"d":"2.0"},{"v":0.07,"d":"0.070"},0.06,3.34,{"v":0.003,"d":"0.00300"},{"v":0.004,"d":"0.00400"},{"v":0.27,"d":"0.270"},0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",692,"","II类","牛湾（采测分离）",3,2,"是","——"]
["2025年1月-2月","苍山渡口（采测分离）",2,2,"是",17.6,7,9.2,1.8,13,2.3,{"v":0.36,"d":"0.360"},0.06,2.45,{"v":0.002,"d":"0.00200"},{"v":0.003,"d":"0.00300"},0.003,0.0002,0.0017,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",17247.5,"","II类","苍山渡口（采测分离）",2,2,"是","——"]
["2025年1月-2月","上浅口",3,2,"是",16.7,{"v":8,"d":"8.0"},7.86,1.4,6,{"v":1,"d":"1.0"},0.331,0.05,2.83,0.00148,0.00373,0.163,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",361.9,"","II类","上浅口",3,2,"是","——"]
["2025年1月-2月","义兴",3,2,"是",{"v":17,"d":"17.0"},7.4,8.05,2.2,10,1.8,{"v":0.16,"d":"0.160"},0.06,1.36,0.00255,0.00541,0.194,0.0002,0.0007,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00011,0.002,0.0002,0.005,0.02,0.005,"",168.1,"","II类","义兴",3,2,"是","——"]
["2025年1月-2月","新美",3,3,"是",17.6,7.1,8.39,3.4,18,2.6,0.235,0.06,2.93,0.00224,0.00305,0.289,0.0002,0.0007,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0001,"d":"0.00010"},0.002,0.0002,0.005,0.02,0.005,"",374.1,"","III类","新美",3,3,"是","——"]
["2025年1月-2月","公义",3,3,"是",17.6,7.2,8.35,3.8,18,2.6,0.206,0.06,2.59,0.00223,0.00346,0.293,0.0002,0.0007,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0001,"d":"0.00010"},0.002,0.0002,0.005,0.02,0.005,"",352.4,"","III类","公义",3,3,"是","——"]
["2025年1月-2月","虎跳门水道",2,2,"是",17.9,{"v":8,"d":"8.0"},8.75,2.1,11,1.5,0.098,0.04,2.26,0.00161,0.00331,0.235,0.0002,{"v":0.001,"d":"0.0010"},{"v":2e-5,"d":"0.00002"},{"v":5e-5,"d":"0.00005"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",3670.2,"","II类","虎跳门水道",2,2,"是","——"]
["2025年1月-2月","锦江水库",2,2,"是",18.7,6.3,7.03,{"v":1,"d":"1.0"},4,0.8,0.106,0.01,0.35,0.00057,0.00086,0.104,0.0002,0.0003,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","锦江水库",2,2,"是","——"]
["2025年1月-2月","大隆洞水库",2,1,"是",17.4,6.7,8,1.2,4,0.8,0.117,0.01,0.51,0.00084,0.00238,{"v":0.1,"d":"0.100"},0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","I类","大隆洞水库",2,1,"是","——"]
["2025年1月-2月","大沙河水库[水]",2,2,"是",16.6,7.1,7.7,2.7,10,2.1,{"v":0.17,"d":"0.170"},0.02,1.02,0.00121,0.00326,0.148,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,0.00011,0.002,0.0002,0.005,0.02,0.005,"","","","II类","大沙河水库[水]",2,2,"是","——"]
["2025年1月-2月","西炮台（采测分离）",3,2,"是",17.8,8,8.95,1.9,10,0.7,0.055,0.05,2.07,{"v":0.002,"d":"0.00200"},{"v":0.001,"d":"0.00100"},0.265,0.0002,0.0015,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",8120,"","II类","西炮台（采测分离）",3,2,"是","——"]
["2025年1月-2月","恩城水厂（采测分离）",2,2,"是",19.9,7,8.75,1.4,4,0.6,{"v":0.02,"d":"0.020"},0.03,0.52,{"v":0.001,"d":"0.00100"},{"v":0.003,"d":"0.00300"},{"v":0.11,"d":"0.110"},0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",71.5,"","II类","恩城水厂（采测分离）",2,2,"是","——"]
["2025年1月-2月","镇海水库",3,3,"是",16.6,7.1,7.52,3.4,14,2.4,0.618,0.02,1.24,0.00073,0.00251,0.331,0.0002,0.0004,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","III类","镇海水库",3,3,"是","——"]

{"sheet":"1-3月","index":2,"n_rows":16,"n_cols":37,"rows_kept":16}
["监测 月份","断面名称","功能区\n类别划定","水质现状","是否达标","水温","pH","溶解氧","高锰酸盐指数","化学\n需氧量","生化\n需氧量","氨氮","总磷","总氮","铜","锌","氟化物","硒","砷","汞","镉","六价铬","铅","氰化物","挥发酚","石油类","阴离子表面活性剂","硫化物","粪大肠菌群","电导率","悬浮物","水质\n现状\n(罗马数字)","断面名称","功能区\n类别划定","水质现状","是否达标","超标项目(倍数)"]
["2025年1月-3月","下东（采测分离）",2,2,"是",18.2,8,9.23,1.1,8,1.1,0.047,0.03,2.07,{"v":0.001,"d":"0.00100"},{"v":0.004,"d":"0.00400"},0.172,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},{"v":0.0005,"d":"0.001"},0.0002,0.005,0.02,0.005,"",315.3,"","II类","下东（采测分离）",2,2,"是","——"]
["2025年1月-3月","布洲（采测分离）",2,2,"是",18.3,8,9.37,1.7,7,0.7,0.053,0.04,2.24,{"v":0.001,"d":"0.00100"},{"v":0.002,"d":"0.00200"},0.166,0.0002,0.0014,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",1172.3,"","II类","布洲（采测分离）",2,2,"是","——"]
["2025年1月-3月","牛湾（采测分离）",3,2,"是",18.8,7,6.83,3.3,14,1.7,{"v":0.06,"d":"0.060"},0.06,3.32,{"v":0.003,"d":"0.00300"},{"v":0.004,"d":"0.00400"},{"v":0.27,"d":"0.270"},0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",677.3,"","II类","牛湾（采测分离）",3,2,"是","——"]
["2025年1月-3月","苍山渡口（采测分离）",2,2,"是",18.4,7,8.83,1.8,13,2.3,0.357,0.06,2.53,{"v":0.002,"d":"0.00200"},{"v":0.003,"d":"0.00300"},0.003,0.0002,0.0017,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",16755.7,"","II类","苍山渡口（采测分离）",2,2,"是","——"]
["2025年1月-3月","上浅口",3,2,"是",18.2,7.8,7.5,1.4,6,{"v":1,"d":"1.0"},0.346,0.05,2.76,0.00147,0.00348,0.162,0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":6e-5,"d":"0.00006"},0.002,0.0002,0.005,0.02,0.005,"",370.5,"","II类","上浅口",3,2,"是","——"]
["2025年1月-3月","义兴",3,2,"是",18.6,7.2,7.98,2.6,11,{"v":2,"d":"2.0"},{"v":0.23,"d":"0.230"},0.06,1.54,0.00228,0.00535,0.244,0.0002,0.0007,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},0.002,0.0002,0.005,0.02,0.005,"",227.9,"","II类","义兴",3,2,"是","——"]
["2025年1月-3月","新美",3,2,"是",18.2,7.2,7.85,3.2,15,2.5,0.205,0.07,2.87,0.00225,0.00405,0.281,0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0001,"d":"0.00010"},0.002,0.0002,0.005,0.02,0.005,"",384.7,"","II类","新美",3,2,"是","——"]
["2025年1月-3月","公义",3,2,"是",18.3,7.2,7.86,3.8,15,2.7,0.301,0.07,3.09,0.00216,0.00342,0.291,0.0002,0.0006,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":8e-5,"d":"0.00008"},0.002,0.0002,0.005,0.02,0.005,"",355.5,"","II类","公义",3,2,"是","——"]
["2025年1月-3月","虎跳门水道",2,2,"是",{"v":18,"d":"18.0"},7.8,8.58,1.9,9,1.4,0.102,0.04,2.34,0.00153,0.00297,0.217,0.0002,0.0009,{"v":2e-5,"d":"0.00002"},{"v":4e-5,"d":"0.00004"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"",2581.5,"","II类","虎跳门水道",2,2,"是","——"]
["2025年1月-3月","锦江水库",2,1,"是",19.7,6.3,7.75,{"v":1,"d":"1.0"},3,0.8,0.085,0.01,0.31,0.00065,0.00128,0.094,0.0002,0.0003,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","I类","锦江水库",2,1,"是","——"]
["2025年1月-3月","大隆洞水库",2,1,"是",18.5,6.7,8.07,1.2,6,0.8,0.093,0.01,0.51,0.00083,0.00205,0.118,0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","I类","大隆洞水库",2,1,"是","——"]
["2025年1月-3月","大沙河水库[水]",2,2,"是",17.3,6.8,8.12,2.8,10,2.2,0.132,0.02,0.98,0.00112,0.00282,{"v":0.14,"d":"0.140"},0.0002,0.0002,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":9e-5,"d":"0.00009"},0.002,0.0002,0.005,0.02,0.005,"","","","II类","大沙河水库[水]",2,2,"是","——"]
["2025年1月-3月","西炮台（采测分离）",3,2,"是",18.8,8,8.57,2.1,10,0.7,0.103,0.05,2.16,{"v":0.002,"d":"0.00200"},{"v":0.001,"d":"0.00100"},0.265,0.0002,0.0015,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0002,"d":"0.00020"},0.002,0.0002,0.005,0.02,0.005,"",8353.3,"","II类","西炮台（采测分离）",3,2,"是","——"]
["2025年1月-3月","恩城水厂（采测分离）",2,2,"是",21.3,6.4,8.3,1.7,6,0.6,{"v":0.03,"d":"0.030"},0.04,0.74,{"v":0.001,"d":"0.00100"},{"v":0.003,"d":"0.00300"},{"v":0.11,"d":"0.110"},0.0002,0.0008,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":0.0003,"d":"0.00030"},0.002,0.0002,0.005,0.02,0.005,"",69,"","II类","恩城水厂（采测分离）",2,2,"是","——"]
["2025年1月-3月","镇海水库",3,3,"是",17.1,6.9,8.07,3.4,13,2.4,0.571,0.02,1.23,0.00071,0.00236,{"v":0.32,"d":"0.320"},0.0002,0.0003,{"v":2e-5,"d":"0.00002"},{"v":2e-5,"d":"0.00002"},0.002,{"v":4e-5,"d":"0.00004"},0.002,0.0002,0.005,0.02,0.005,"","","","III类","镇海水库",3,3,"是","——"]